Section  SF 30 - BLOCK 14 CONTINUATION PAGE

TERMS AND CONDITIONS

ADDENDUM TO FAR 52.212-4
TERMS AND CONDITIONS - COMMERCIAL ITEMS

The following paragraphs have been changed/added to FAR 52.212-4 Terms and Conditions – Commercial Items.

1.   Administrative Modifications:

The government may issue unilateral written modifications that do not affect the substantive rights of the parties.  Examples of administrative modifications are corrections in the payment office address or changes to the accounting and appropriation data.   Contract modifications will be issued and accessed through the Electronic Document Access System (EDA) http://eda.ogden.disa.mil.  Contractors must complete the on-line registration available at the website in order to retrieve documents displayed there.

2.   Payment Procedures:

Contract payments will be processed electronically via EFT through Defense Finance and Accounting Service (DFAS).  Prior to DFAS releasing any contract payment, the contractor must submit a proper invoice using Wide Area Work Flow (WAWF) electronic commerce.  After a proper invoice is received, a Government representative will acknowledge acceptance and receipt.  After all items are properly submitted, the contract payment will be processed via DFAS electronically.

The contractor must access the WAWF Vendor Tools on the DFAS website and complete the requirements to obtain an active WAWF account.  This will allow the contractor to submit invoices via WAWF so that payments can be processed electronically through EFT.

All invoices shall be submitted electronically to DFAS Columbus via https://wawf.eb.mil/ in accordance with DFARS clause 252.232-7003, Electronic Submission of Payment Requests and Receiving Reports (MAR 2008).   The contract will require the type of invoice to be used as “Invoice and Receiving Report (COMBO)”.  Separate invoices shall be created for each location and service call.

Pay DoDAAC:  Block 18a of the contract.

Admin DoDAAC:  Block 9 of the contract

Ship To DoDAAC:

Dahlgren-HQCNFK

Patuxent River NAS-HQCNAB

Quantico-HQCNFJ

Payment status can be obtained by checking the Misc Info Tab on your invoice in WAWF and on the MyInvoice link or at https://myinvoice.csd.disa.mil/index.html.

Payment Inquiries:  Payment questions can be addressed by calling DFAS – Columbus, OH Customer Service at 800-756-4571, Opt 2, Opt 2.

If you need technical assistance on WAWF, contact: Ogden Help Desk, 866-618-5988, Opt 2, Opt 3

3.   Period of Performance:

Base Year:   	January 29, 2013(date of award) through January 31, 2014

Option Year 1:  	February 1, 2014 through January 31, 2015

Option Year 2:     February 1, 2015 through January 31, 2016

4.   Be advised that this contract(s) will be posted on http://www.commissaries.com/business/contracting.cfm at two distinct points during the procurement cycle:

(1)  RECENT CONTRACT AWARDS - The first posting will take place immediately after the contract is awarded and will contain only the base year pricing.

(2)  HISTORICAL PRICING – The second posting will take place when it is time for re-solicitation of an existing contract and will contain all CLINs and Sub-CLINs prices of the base period and all exercised options of the contract which is about to expire and is being re-solicited.

5.  Labor Poster Information

Clause at 52.222-41, Service Contract Act of 1965, as amended, is applicable to the services performed under this contract.  The contractor is responsible for obtaining and posting the following publications available at http://www.dol.gov/compliance/topics/posters.htm

1.  Employee Rights on Government Contracts (WHD Publication 1313)

2.  Employee Rights under Fair Labor Standards Act (WHD Publication 1088)

3.  Equal Employment Opportunity is the Law (OFCCP 1420)

If you are unable to obtain a copy of the applicable posters at the above web site, please contact the Contract Administrator identified on page one of this award document.

6.  Ceiling Price

This contract includes ceiling prices for each Material sub-CLIN and each Time sub-CLIN.  Each Time and Material Sub-CLIN is to be monitored by both the Defense Commissary Agency location and the Contractor.  If the Contractor exceeds the ceiling price they do so at their own risk of not being paid for services.  The below is the ceiling price per sub-CLIN

Dahlgren Naval Surface Warfare Center

Sub-CLIN  0003AA Time			$1,900.00

Sub-CLIN  0003AB Materials		$5,140.00

Patuxent River Naval Air Station

Sub-CLIN  0002AA Time			$6,175.00

Sub-CLIN  0002AB Materials		$5,405.00

Quantico Marine Corps Combat Development Command

Sub-CLIN 0001AA Time  			$6,650.00

Sub-CLIN  0001AB Materials		$5,390.00

PERFORMANCE WORK STATEMENT

Performance Work Statement (PWS)

Maintenance and Repair of Material Handling Equipment (MHE)

1 Introduction

Maintenance and Repair of Material Handling Equipment (MHE) at various Defense Commissary Agency (DeCA) locations.

  - Scope

Provide Preventive Maintenance (PM) and unscheduled repair of MHE, as identified, located at DeCA commissaries and/or Central Distribution Centers (CDC).

1.2 Definitions

A. Contractor: The party to a contract who is responsible for providing the contracted services.

B. Material(s)/Part(s): Includes all items which enable the equipment listed to operate in accordance with manufacturer's recommendations.  Such items may include but are not limited to: batteries, filters, belts, hoses, tires, and various fluids.  Fuel, of any type, is not provided via this maintenance contract.  Any part or material which individually costs five dollars ($5.00) or less shall be absorbed in the contractor’s overhead; regardless of quantity purchased or used.

C.  Material Handling Equipment: For coverage purposes this PWS will cover the following types of equipment:

Repair and PM:

- Pallet Jack, Electric Walkie, 6000 Lb Capacity, DeCA CED # 1R05-A

- Pallet Jack, Electric Walkie Stacker, 3000 Lb Capacity DeCA CED # 1R05-B

- Forklift, Electric, Sit-Down, Low Profile DeCA CED # 1R06

- Narrow Aisle, Reach and Tier DeCA CED # 1R07

- Pallet Jack, Electric Walkie-Rider, 6000 Lb Capacity DeCA CED # 1R08

- Forklift, Sit-Down, Propane DeCA CED # 1R12-A

- Forklift, Sit-Down, Gasoline DeCA CED # 1R12-B

- Order Picker / Stock Selector, 3000 Lb Capacity,  DeCA CED # 1R13

Repair Only:

- Battery Charger, 24 Volt, DeCA CED # 1R01

- Battery Charger, 36 Volt, DeCA CED # 1R04

Not all equipment types listed will be at each location.  An itemized listing of equipment located at each Commissary is attached to the solicitation and the contract.  Only items listed for each store are covered by the contract.  A contract modification is required to change the equipment list for each store.

1.3 Key Government Positions

A. Contracting Officer (KO): An individual with the authority to enter into, administer, and/or terminate contracts and make related determinations and findings.  The term includes certain authorized representatives of the contracting officer acting within the limits of their authority as delegated by the contracting officer.

B. Contracting Officer's Representative (COR): An individual, including a contracting officer’s technical representative (COTR), designated and authorized in writing by the contracting officer to perform specific technical or administrative functions.

C. Store Director (SD): An individual responsible for overall commissary operations.  When the term SD is used elsewhere in this contract, it means the SD personally or the Acting SD.

D. Supply Management Specialist (SMS): An individual responsible for administrative work primarily concerned with analyzing, developing, evaluating, or promoting improvements in the policies, plans, methods, procedures, systems, or techniques of an equipment/maintenance program.

- General Requirements

Contractor shall provide all labor, supervision, equipment, tools, materials, parts, transportation of employees, permits and other necessary items to perform the various services as identified in this PWS.  The contractor shall have access to technical manuals required to perform the services as stated in this PWS.

At time of award and throughout the duration of this contract, the Contractor shall assure that Contractor personnel completely understand the requirements of this PWS.  All Contractor service technicians must have licenses to operate all equipment covered in this PWS and must provide evidence of such license if requested by the COR.  Service technicians should have a sound mechanical aptitude, ability, and an extensive working knowledge of troubleshooting, diagnosis, and repair of the equipment included in this PWS, to include various attachments and the following systems:

INTERNAL COMBUSTION EQUIPMENT	ELECTRONIC POWERED EQUIPMENT

Transmission	All Electric Motors

Engine	Electric Control Panels

Hydraulic System	Hydraulic System

Drive Axle and Brakes	Drive Axle and Brakes

Steering Axle and Brakes	Steering Axle and Brakes

Electrical System	Electronic Control Panels/Computer boards

Electronic Control Panels/Computer boards

2.1 Non-Personal Services

The Government shall neither supervise Contractor employees nor control the method by which the Contractor performs the required tasks.  Under no circumstances shall the Government assign tasks to, or prepare work schedules for, individual Contractor employees.  It shall be the responsibility of the Contractor to manage its employees and to guard against any actions that are of the nature of personal services, or give the perception of personal services.  If the Contractor believes that any actions constitute, or are perceived to constitute personal services, it shall be the Contractor's responsibility to notify the KO immediately.

2.2 Business Relations

The Contractor shall work to integrate and coordinate all activities needed to execute the requirements of this PWS with the SD and/or the COR, and with headquarter personnel (SMS) as dictated in section 3.  The Contractor shall manage the timeliness, completeness, and problem identification of all equipment issues.  The Contractor shall provide corrective action plans, submit quotes, monitor timely identification of issues, and the management of subcontractors if required.  The Contractor shall seek to ensure customer satisfaction at all times and present a professional and ethical business behavior to include all Contractor personnel.

2.3 Contract Administration and Management

The following subsections specify requirements for contract, management and personnel administration.

2.3.1 Contract Management

The Contractor shall establish clear organizational lines of authority and responsibility to ensure effective management of the resources assigned to the requirement.  The Contractor must maintain continuity between the support operations at corresponding DeCA locations, the headquarter level and the Contractor's corporate offices.

2.3.2 Contract Administration

The Contractor shall establish processes and assign appropriate personnel resources to effectively administer the requirements of this contract.  The Contractor shall respond to Government requests for contractual actions with-in the time constraints as dictated in section 3. The Contractor shall have a single point of contact (POC) identified between the Government and Contractor assigned to support this contract.  The Contractor shall assign/direct the work effort, maintaining proper and accurate time keeping records of personnel assigned to work on this requirement.  The Contractor shall ensure DeCA email addresses are in their address book to prevent any loss or delay in communications.

2.4 Subcontract Management

The Contractor shall be responsible and accountable for subcontractor performance on this requirement.  The prime Contractor will manage work distribution to ensure there are no Organizational Conflict of Interest (OCI) considerations.  Contractors may add subcontractors to their team after notification to the KO.

2.5 Contractor Personnel

The following subsections specify requirements for contract, management and personnel administration.

2.5.1 Personnel Training

The Contractor shall accomplish the assigned work by qualified personnel with appropriate combinations of education, training, and experience.

2.5.2 Consumption or Use of Government Property

The Contractor shall not permit Contractor personnel to consume or use Government-owned resale items or any Government-owned equipment or supplies that are not specifically provided for Contractor use under this contract.

2.5.3 Use of Alcoholic Beverages/Drugs

The Contractor shall not permit Contractor employees to work under the influence of alcoholic beverages, illegal drugs, or illegally controlled substances.  Contractor personnel are prohibited from using alcoholic beverages, illegal drugs, or illegally controlled substances while on duty.

2.5.4 Removal of Employees for Cause

The KO will require, in writing, that the Contractor immediately bar any Contractor employee from performing further work under this contract for any of the following actions: Willful destruction or mishandling of Government, patron, or vendor property; theft; use of alcoholic beverages, illegal drugs or illegal use of controlled substances; execution of work in other than a skillful manner; displaying disruptive/unacceptable behavior (e.g., abusive, demeaning, foul or threatening language and/or fighting) and willful violations of safety standards by Contractor personnel. Removal of any employees for such cause shall not constitute a valid basis for non-performance of contract services or a claim for additional compensation.

2.5.5 Installation Access

The Contractor shall be responsible for obtaining installation access as required for all

Contractor employees authorized to work at the site specifically for this contract.  Any Government furnished identification shall be returned to the Government when the Contractor employee no longer works for the Contractor at this installation or at the end of the contract whichever comes first.  Military, retired or dependant identification cards are not authorized for use as a means to access the base for performance on this contract.  Additionally, see Federal Acquisition Regulation Clause 52.204-4500 and 52.204-9.

2.5.5.1 Denial of Installation Access

Contractor employees may be denied access to the military installation by the installation law enforcement officials if it is determined that such entry may be contrary to good order, discipline or the security of the installation.  The installation may bar Contractor employees from entering the military installation under the provisions of Title 18, United States Code Section 1382.

2.5.5.2 Motor Vehicle Registration

Prior to commencing work Contractor employees shall register their vehicles IAW the installation motor vehicle registration regulations.

2.5.6 Parking

The Contractor employees shall park only in areas designated by the SD.

2.5.7 Shopping Privileges

Contractor employees who are authorized to make purchases in commissaries shall show appropriate identification before purchasing commissary items and shall immediately remove the item(s) purchased from the commissary through the main exit door.  Contractor employees with commissary privileges shall shop in the commissary only when they are off duty.  Contractor personnel with commissary privileges shall not purchase merchandise for consumption by other personnel or organizations not authorized to shop in the commissary.

2.5.8 Identification of Contractor Personnel

Contractor personnel shall be easily recognized by wearing distinctive clothing bearing the name of the company and/or company identification.  Contractor personnel shall wear required government furnished badge at all times during performance of this contract.  Contractor personnel must use Personal Protective Equipment (PPE) as required IAW OSHA 29 Code of Federal Regulations (CFR) 1910.132.

2.6 Location and Hours of Work

The following subsections specify requirements for contract, management and personnel administration.

2.6.1 Contractor Hours of Performance

The hours of performance are Monday through Friday, 8:00 a.m. to 5:00 p.m. local time at the store, excluding federal holidays.  Hours shall be recorded and invoiced in fifteen (15) minute increments from the time the contractor enters the Commissary until the contractor exits the commissary.

2.6.2 Closing for Inclement Weather or Emergency Conditions

In the event that inclement weather or other emergency conditions force commissary closure, the SD and Contractor’s POC will agree upon the method by which the Contractor’s POC will receive notification about closures or delayed reporting times.  The Contractor shall provide service as long as the commissary remains open.

2.6.3 Location of Work

On site work is required; however, in the event that it is not feasible, authorization will be obtained from the COR, who will complete a DeCA Form 40-108 for equipment removed from the installation.  Contractor signature on the form will serve to hold the Contractor liable for any and all loss or damage to such equipment while in the Contractor’s possession.  The Contractor will notify the COR when equipment will be off site for a duration exceeding seven (7) calendar days.  The COR will coordinate with DeCA HQ if backup equipment is not readily available at the store and determine a plan of action.

2.7 Quality Control Plan

The Contractor shall establish and forward to the KO a complete quality control plan.  The Contractor is required to submit the quality control plan with the proposal.  The Contractor shall provide an updated copy of the quality control plan to the KO as changes occur.  At a minimum the plan shall include the following:

2.7.1 Inspection System

The plan shall include an inspection system covering all the maintenance and repair services required by this contract and any other areas deemed necessary by the Contractor.  The plan must specify the services and equipment to be inspected on either a scheduled or unscheduled basis, and how often inspections will be accomplished.

2.7.2 Methods of Identifying/Preventing Deficiencies

The Contractor shall establish methods for identifying/preventing deficiencies in the quality of services performed before the level of performance becomes unacceptable.

2.7.3 Records

The plan shall include on-site records of all inspections conducted by the Contractor and any necessary corrective action taken.  This documentation and all records and schedules, as described in the PWS, that are the responsibility of the Contractor, are the property of the Government and shall be made available to the Government during the term of the contract.

3 Performance Requirements

The following section specifies the Performance Objectives and Performance Elements for the contract.

3.1 Provide initial assessment for material handling equipment covered by the contract.

Performance Standards:

Standard: Determine if equipment is in compliance with federal, state, local laws, regulations, Occupational Safety and Health Administration (OSHA) and Original Equipment Manufacturer (OEM) standards.

Standard:  If more than one technician is required, contractor shall state in the estimate and have it approved by the SMS before work is performed.

Standard: Completes initial assessment and provides recommendations to include priced quotes for repair(s) of equipment within thirty (30) calendar days of contract award.

Required Documentation

A001         Report of assessment which includes an estimated value for each repair.

3.2 Perform preventive maintenance for material handling equipment.

Performance Standards

Standard: Coordinate date/time of work with the COR within fifteen (15) calendar days of the scheduled PM services.  COR may accept or propose an alternate schedule within 5 days, however, the COR may not deny performance of the PM during the prescribed maintenance schedule.

Standard: Maintain cleanliness of area to include disposal of all materials in accordance with all applicable local, state and federal regulations.  Nonhazardous materials may be disposed of on site.

Standard: Minimize interference of daily operations by performing PM in a COR designated work area.  The COR shall provide a safe work area for the Contractor to perform the PM services.

Standard: At minimum comply with DeCA prescribed maintenance schedules.  Completed PM shall comply with all federal, state and local laws, regulations, OSHA and DeCA standards.

Standard: Provide Service Ticket with a PM checklist to COR at time of PM services being rendered.  Service Ticket and PM checklist shall be signed by Contractor and COR or alternate with a copy left at the location and the original to be maintained by the Contractor.  The signed documents shall be attached to the invoice in Wide Area Work Flow (WAWF).

Standard:  Any deficiencies identified during PM should be processed in accordance with PWS paragraph 3.3.

Standard: Any parts/materials necessary to complete the PM are authorized up to $500.00. Any parts/materials over $500.00 needed to complete the PM must have prior approval by DeCA HQ SMS (to be identified at time of award).

Required Documentation

A002         PM Checklist

A003         Signed Service Ticket

3.3 Repair material handling equipment.

Performance Standards

Standard:  Respond to service call and provide a signed repair quote within 16 working hours after receiving call from COR.  No more than 3 delinquent responses per store per contract year.

Standard:   Repairs costing over $2,500.00 shall be made with the approval from DeCA HQ SMS.

Standard:  If more than one technician is required to perform work, the Contractor shall provide the rational for the second technician for this requirement in the estimate and then have it approved by the DeCA HQ SMS before work is performed.

Standard:  Minimize interference of daily operations by performing repairs in a COR designated work area.  The COR shall provide a safe work area for the Contractor to perform the repair services.

Standard:  Perform approved repairs within 7 working days.  Completed repairs shall comply with all federal, state and local laws, regulations, OSHA and OEM standards.  All replacement material(s) shall be OEM compliant which will allow warranty to stay intact. Contractor will provide parts/warranty documents when requested by COR (A004).

Standard: Maintain cleanliness of area to include disposal of all materials in accordance with all applicable local, state and federal regulations.  Nonhazardous materials may be disposed of on site.

Standard:  At the time of completion for each repair the service ticket shall be signed by both the COR and the Contractor representative.  A copy of the signed service ticket shall be given to the COR and the original shall be maintained by the Contractor.  The Contractor shall attach the signed service ticket to invoice in WAWF.

Standard:  No more than 3 calls per month for any repair on one piece of equipment; except when authorized by a SMS.

Standard: No more than 2 validated call backs per month for the same repair; except when authorized by a SMS.

Required Documentation

A003         Signed service ticket

A004         Parts/material warranty documents

3.4 Provide service ticket, invoice and service history for material handling equipment covered by the contract.

Performance Standards

Standard: Furnish completed service ticket for each repair and PM provided at the time the service is rendered to COR.  Service ticket must be signed by both the contractor’s representative and COR before leaving the Commissary for the day.  A copy of the signed service ticket will be left at the location and the contractor shall maintain the original.

Service history report (Attachment A) shall include the following:

- DeCA Location

- CLIN Number

- Service ticket number/job order number.

- Date and time of service call notification.

- Date/Time of quote provided (not required for PM Services).

- DeCA bar code.

- Make, model and serial number of the equipment involved.

- Date and time work started for each service.

- Date and time work ended for each service.

- Total number of hours expended for service.

- Description of malfunction and work/service performed.

- All materials used listed by part number, part name, quantity and cost per unit which shall be supported by actual supplier invoices.

- If any portion of the work is sub-contracted the number of hours and the dollar amount of the sub-contracted work.

- If any portion of work is sub-contracted the sub-contractors invoice shall be submitted with the service ticket to the COR.

Standard: Submit combo invoice in WAWF and attach all supporting documents to include but not limited to Service Ticket, PM Check list, parts receipts, subcontractor invoices, etc in WAWF.  Submit combo invoice no later than seven (7) calendar days after service is rendered.

Standard: Maintain a service history report for repairs and PM services in accordance with Attachment A.  Report shall be submitted monthly to KO, Contract Specialist and the DeCA HQ SMS.  The report for each month is due no later than the 10th day of the following month.

Required Documentation

A003        Signed service ticket

A005        Electronic spreadsheet

A006        WAWF Invoice

4 Required Documentation

The Contractor shall provide the Required Documentation as specified throughout this PWS. Delivery schedule for the Required Documentation shall be outlined in the PWS

A001		Report of assessment which includes an estimated value for each repair.
__________________________________________________________________
A002		PM Checklist
__________________________________________________________________
A003		Signed service ticket 
__________________________________________________________________
A004		Warranty documents (Part/Material)
__________________________________________________________________
A005		Electronic spreadsheet 
__________________________________________________________________
A006		WAWF Invoice
__________________________________________________________________

5 Special Requirements

This section describes the special requirements for this effort.  The following sub-sections provide details of various considerations on this effort.

5.1 Safety

The Contractor shall comply with all applicable OSHA, DOD, DeCA and installation safety regulations.

5.2 Security of Property

The Contractor shall be responsible for safeguarding all property while in the Contractor's possession.  A Government representative will designate entrances and exits for Contractor personnel to use in the commissary.  At the close of each work period, the Contractor shall return all government equipment and materials provided for Contractor’s use to the proper designated location.

5.3 Accident Reporting

The Contractor shall report all accidents immediately to the COR or on duty Government manager.  The Contractor shall maintain an accurate record of, and will report to the SD on DeCA Form 30-69, all accidents resulting in death, traumatic injury, occupational illness or damage to any Government property incident to work performed under this contract.  Such notification shall be as soon as practicable, but in no case later than the next business day following the accident.

6 Government Furnished Materials

This section describes the special requirements for this effort.  The following sub-sections provide details of various considerations on this effort.

6.1 Utilities

The Government will provide the utilities necessary to perform all operations required by this contract.

6.2 Telephone

The Government will provide access to local telephone service (installation and surrounding community).  The local service is limited to use for official business only (Government business and emergencies).

7 Environmental Requirements

The Contractor shall comply with all environmental requirements listed below as mandatory and referenced under paragraph 3.0, Performance Requirements.  The Contractor shall comply with all applicable OSHA, DOD, DeCA and Installation environmental regulations.

Mandatory compliance:

- Lubricating oils shall be a minimum of 25% recovered materials.

- Engine coolants shall be reclaimed.

- Rebuilt parts shall be used if the parts meet Federal Trade Commission (FTC) “Guides for the rebuilt, reconditioned and other used automotive parts industry” as outlined in 16 CFR Part 20.

ATTACHMENT A

PLEASE MAKE SURE TO DOWNLOAD THE MONTHLY REPORT (ATTACHMENT A) FROM FEDBIZOPPS WEBSITE.

THIS ATTACHMENT IS REFERENCED IN THE PWS UNDER SECTION 3.4. THIS WILL BE USED TO MAINTAIN SERVICE HISTORY ON EACH EQUIPMENT AT EACH RESPECTIVE COMMISSARY.

https://www.fbo.gov/

FOIA INFORMATION

21 Jan 2009 – FOIA Memo

IMPORTANT NOTICE

Upon award of this contract, the Agency intends to make public the total contract award amount, as well as any awarded individual contract line item pricing (CLIN and Sub-CLIN), within the Agency’s electronic reading room located at www.commissaries.com.

Unexercised Option year prices will not be published.

This action is being taken to ensure contract award information is available to the general public, as it was in the past, pursuant to the President’s January 21, 2009 memorandum regarding the Freedom of Information Act (FOIA).

PATUXENT RIVER EQUIPMENT LIST

| Type of equipment | CED # | Make | Model | Year | DeCA Bar Code Number | Serial Number | Operational Hours |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ELECTRIC FORKLIFT | 1R06 | YALE | ERP030TCE36SE083 | 1992 | DE0032446 | 515101 | 53808 |
| ELECTRIC FORKLIFT | 1R06 | YALE | ERC040AGN36TE084 | 2002 | DE0032449 | A814N01502Y | 2961 |
| FORKLIFT NARROW ISLE | 1R07 | YALE | NRP030THN36TE082 | 2008 | DE0037599 | F807N05671F | 1556 |
| CHARGER, BATTERY, 36V | 1R04 | FERRO FIVE | FR18HK8505 | 1992 | DE0032447 | KPIU937796 | N/A |
| CHARGER, BATTERY, 36V | 1R04 | GENERAL | SC3-12-550 | 2003 | DE0032448 | BE80145 | N/A |
| CHARGER, BATTERY, 36V | 1R04 | THE GENERAL | 1R04 | 2006 | DE0036336 | CG101646 | N/A |

DAHLGREN EQUIPMENT LIST

| Type of equipment | CED # | Make | Model | Year | DeCA Bar Code Number | Serial Number | Operational Hours |
| --- | --- | --- | --- | --- | --- | --- | --- |
| FORKLIFT, ELECTRIC | 1R06 | YALE | ERC040AGN36TE084 | 2003 | DE0104670 | A814V05191X | 243 |
| CHARGER, BATTERY 36 VO | 1R04 | HYSTER/YALE | TGN-18-865 | 2003 | DC0020515 | YF33793 | N/A |

QUANTICO EQUIPMENT LIST

| Type of equipment | CED # | Make | Model | Year | DeCA Bar Code Number | Serial Number | Operational Hours |
| --- | --- | --- | --- | --- | --- | --- | --- |
| FORKLIFT PROPANE | 1R12-A | YALE | GLP040-VXEURV086 | 2002 | DE0087295 | B875B07175D | 713 |
| ELECTRIC FORKLIFT | 1R06 | YALE | ERC040VA | 2011 | DE0105235 | A969N01731J | N/A |
| ELECTRIC PALLET JACK | 1R05-A | YALE | MPW050-EN24T2748 | 2010 | DE0087262 | C802N03617H | 1220 |
| ELECTRIC PALLET JACK | 1R05-A | YALE | MPW050-EN24T2748 | 2010 | DE0087264 | C802N03622H | 883 |
| ELECTRIC PALLET JACK | 1R05-A | YALE | MPW050-EN24T2748 | 2010 | DE0087263 | C802N03621H | N/A |
| ELECTRIC PALLET JACK | 1R05-A | YALE | MPW050-EN24T2748 | 2010 | DE0087261 | C802N03612H | 461 |
| CHARGER, BATTERY, 36V | 1R04 | GENERAL | 16410 | 2006 | DE0087205 | 0902 | N/A |
| CHARGER, BATTERY, 36V | 1R04 | AMETEK | 750H3-18C | 2011 | DE0105236 | 311CS92361 | N/A |
| CHARGER, BATTERY 24 V | 1R01 | GBN | SCRFLX12-865-TI | 2010 | DE0087286 | 09G2064M | N/A |
| CHARGER, BATTERY 24 V | 1R01 | GBN | SCRFLX12-865-TI | 2010 | DE0087287 | 09G2076M | N/A |
| CHARGER, BATTERY 24 V | 1R01 | GBN | SCRFLX12-865-TI | 2010 | DE0087288 | 09G2081M | N/A |
| CHARGER, BATTERY 24 V | 1R01 | GBN | SCRFLX12-865-TI | 2010 | DE0087289 | 09G2086M | N/A |
| CHARGER, BATTERY 24 V | 1R01 | CLARKE | V24 | 2009 | DE0087290 | 280502250 | N/A |
| CHARGER, BATTERY 24 V | 1R01 | CLARKE | V24 | 2009 | DE0087276 | IF65096 | N/A |

CHECK LIST

| CED# | PREVENTIVE MAINTENANCE TASK LIST |  |
| --- | --- | --- |
| 1R05-A | PALLET JACK, ELECTRIC, WALKIE (1R05-A) AND WALKIE/RIDER (1R08) |  |
| 1R08 | Task | Procedure or Action | Sevice Tech Initials |
| 1 | Battery | check water level and add water if necessary |  |
|  |  | perform an equalization charge |  |
|  | Panels - Latches | check operation |  |
|  | Power Disconnect | neutralize and clean |  |
| 2 | Brake | check operation and adjust as necessary |  |
| 3 | Drive unit | check level and add oil if necessary |  |
|  |  | change oil annually |  |
| 4 | Electrical Circuits | check operation |  |
|  | Contactors | check condition, clean if neccessary and tighten terminals |  |
|  | Motor Brushes | check condition and replace if needed |  |
| 5 | Chassis | check all fittings and lubricate with multi purpose grease if needed |  |
| 6 | Caster Wheel | check clearance and adjust if needed |  |
| 7 | All linkage | check condition and lubricate with multi purpose grease |  |
| 8 | Load wheel bearings | check condition and lubricate with multi purpose grease |  |
|  |  | clean and repack bearings annually |  |
| 9 | Hydraulic hoses, clamps and fittings | check for leaks, wear, kinks, flattening and charring |  |
|  | Hydraulic oil level | check level and add hydraulic oil if necessary |  |
|  |  | change hydraulic oil annually |  |
|  | Dipstick/Breather Cap | clean or replace |  |
|  | Hydraulic oil filter | replace annually |  |
|  | Hydraulic Pump | Check for noise and operation |  |
|  | Relief valve | check conditon and settings |  |
| 10 | mounting bolts for the electric motor and drive unit | check torque and adjust |  |
| 11 | Wheel bolts | check torque |  |
| 12 | Controls | clean as needed |  |
| 13 | Interlock switches | check operation |  |
| 14 | All motors | clean with compressed air |  |
| 15 | Steer handle pivot pins | check torque |  |
| 16 | Emergency disconnect switch | test operation |  |
| 17 | All bolts, nuts, cotter pins, etc. | check and adjust as needed |  |
| 18 | Safety Labels | check condition and replace if needed |  |
| NOTE* | If deficiencies are detected during quarterly PM checks, report findings to the COR. |  |
|  | Signature of COR | Signature of Service Technician |

| CED# | PREVENTIVE MAINTENANCE TASK LIST |  |
| --- | --- | --- |
| 1R06 | FORKLIFT, ELECTRIC, SIT-DOWN LOW PROFILE |  |
|  | Task | Procedure or Action | Sevice Tech Initials |
| 1 | Battery | check water level and add water if necessary |  |
|  |  | perform an equalization charge |  |
|  | Panels - Latches | check operation |  |
|  | Power Disconnect | neutralize and clean |  |
| 2 | Brake | check operation and adjust if necessary |  |
|  | Fluid | check fluid level and add fluid if necessary |  |
|  |  | change brake fluid annually |  |
|  | Rods & Drum Splines | check operation and lubricate with anti-seize lubricant |  |
|  | Brake linkage and shafts | check operation and lubricate with multi purpose grease |  |
|  | Master Cylinder | check operation |  |
| 3 | Parking Brake | Check operation and adjust as necessary |  |
|  | Linkage | check condition and lubricate with silicone spray |  |
| 4 | Steering Tie rods and splines | check condition and lubricate with multi purpose grease |  |
| 5 | Direction and speed control pedals | check operation |  |
| 6 | Electrical Circuits | check operation |  |
|  | Contactors | check condition, clean if neccessary and tighten terminals |  |
|  | Motor Brushes | check condition and replace if needed |  |
| 7 | Differential and speed reducer | check for leaks |  |
|  |  | change gear oil annually |  |
| 8 | Forks | check condition |  |
|  | Fork pins and guides | check condition and lubricate with engine oil if necessary |  |
| 9 | Sideshift carriage | check all fittings and lubricate with multi purpose grease |  |
|  | Integral Sideshift carriage (upper/lower bearings) | check wear on bearings and replace as necessary |  |
| 10 | Gauges, Horn, Lights,Fuses | check operation |  |
| 11 | Hydraulic hoses, clamps and fittings | check for leaks, wear, kinks, flattening and charring |  |
|  | Hydraulic oil level | check hydraulic oil level and add if necessary |  |
|  |  | change hydraulic oil level annually |  |
|  | Hydraulic Pump | Check for noise and operation |  |
|  | Hydraulic Tank Breather | Clean or replace |  |
|  | Hydraulic oil filter | replace annually |  |
| 12 | DC motor brushes hydraulic pump | check condition and replace motor brushes if needed |  |
| 13 | Pivots (mast) | check fittings and lubricate with multi purpose grease as necessary |  |
|  | Mast | check operation |  |
|  | Mast sliding surfaces | check condition and lubricate with multi purpose grease as necessary |  |
|  | Mast carriage, header, hoses | check condition |  |
|  | Lift chains | check condition, adjust if neccessary and lubricate with engine oil if necessary |
| 14 | Tires | Check condition |  |
|  | Steering and drive wheel nuts | Check torque |  |
|  | Wheel bearings | check condition and lubricate with multi purpose grease if needed |  |
| 15 | All motors | clean with compressed air |  |
| 16 | Safety Labels | check condition and replace if needed |  |
| 17 | All bolts, nuts, cotter pins, etc. | check and adjust as needed |  |
| NOTE* | If deficiencies are detected during quarterly PM checks, report findings to the COR. |  |
|  | Signature of COR | Signature of Service Technician |

| CED# | PREVENTIVE MAINTENANCE TASK LIST |  |
| --- | --- | --- |
| 1R07 | NARROW AISLE, REACH & TIER |  |
|  | Task | Procedure or Action | Sevice Tech Initials |
| 1 | Battery | check water level and add water if necessary |  |
|  |  | perform an equalization charge |  |
|  | Panels - Latches | check operation |  |
|  | Power Disconnect | neutralize and clean |  |
| 2 | Brake | check operation and adjust if necessary |  |
|  | Fluid | check fluid level and add fluid if necessary |  |
|  |  | Change brake fluid annually |  |
|  | Rods & Drum Splines | lubricate with anti-seize lubricant if necessary |  |
|  | Brake linkage and shafts | check operation and lubricate with multi purpose grease |  |
|  | Master Cylinder | check operation |  |
| 3 | Control Handle | check operation |  |
|  | Control Handle Bushing | check condition and lubricate with multi purpose grease |  |
| 4 | Electrical Circuits | check operation |  |
|  | Contactors | check condition, clean if neccessary and tighten terminals |  |
|  | Motor Brushes | check condition and replace if needed |  |
|  | Traction Motor Bearings | check and change as necessary |  |
| 5 | Forks-All | check for damage |  |
|  | Hook for guides & locks | lubricate with anti-seize lubricant if necessary |  |
| 6 | Gauges, Horn, Lights,Fuses | check operation |  |
| 7 | Hydraulic hoses, clamps and fittings | check for leaks, wear, kinks, flattening and charring |  |
|  | Hydraulic oil level | check hydraulic oil level and add if necessary |  |
|  |  | change hydraulic oil level annually |  |
|  | Hydraulic Pump | Check for noise and operation |  |
|  | Hydraulic Tank Breather | Clean or replace |  |
|  | Hydraulic oil filter | replace annually |  |
| 8 | Lift Chains | check condition, adjust if neccessary and lubricate with engine oil if necessary |
|  | Articulating Chain Anchors 3 stage mast | check condition and lubricate with engine oil |  |
| 9 | Mast and Carriage | check condition |  |
|  | Pivots and Sliding Surfaces | lubricate with Multi-purpose grease as necessary |  |
| 10 | Articulation Shaft | check condition |  |
|  | Articulation Shaft Retaing Bolt | lubricate with anti-seize lubricant if necessary |  |
|  | Articulation Shaft Ends | lubricate with anti-seize lubricant if necessary |  |
| 11 | Reach Arms Single Reach | lubricate with Multi-purpose grease |  |
|  | Reach Arms Double Reach | lubricate with Multi-purpose grease |  |
|  | Reach Cylinder Pivot Points | lubricate with Multi-purpose grease |  |
|  | Thrust Rollers-Reach Frame | lubricate with Multi-purpose grease |  |
| 12 | Pedals, Levers, Cables, Hinges, Linkages | check operation and lubicate with anti-seize lubricant |  |
| 13 | Steering Operation | check operation |  |
| 14 | Tire and Wheels | check condition |  |
|  | Caster Wheel Assembly | lubricate with Multi-purpose grease |  |
|  | Load Wheel Bolts | lubricate with anti-seize lubricant if necessary |  |
| 15 | All motors | clean with compressed air |  |
| 16 | Safety Labels | check condition and replace if needed |  |
| 17 | All bolts, nuts, cotter pins, etc. | check and adjust as needed |  |
| NOTE* | If deficiencies are detected during quarterly PM checks, report findings to the COR. |  |
|  | Signature of COR | Signature of Service Technician |

| CED# | PREVENTIVE MAINTENANCE TASK LIST |  |
| --- | --- | --- |
| 1R12-A | FORKLIFT, SIT-DOWN, PROPANE, (1R12-A), AND GAS (1R12-B) |  |
| 1R12-B | Task | Procedure or Action | Sevice Tech Initials |
| 1 | Battery | check condition and add water if needed |  |
| 2 | Brake | check operation and adjust if necessary |  |
|  | Fluid | check fluid level and add fluid if necessary |  |
|  |  | change brake fluid annually |  |
|  | Rods & Drum Splines | check operation and lubricate with anti-seize lubricant |  |
|  | Brake linkage and shafts | check operation and lubricate with multi purpose grease |  |
|  | Master Cylinder | check operation |  |
| 3 | Parking Brake | Check operation and adjust as necessary |  |
|  | Linkage | check condition and lubricate with silicone spray |  |
| 4 | Tires | Check condition |  |
|  | Steering and drive wheel nuts | Check torque |  |
|  | Wheel bearings | check condition and lubricate with multi purpose grease if needed |  |
| 5 | Hydraulic hoses and clamps | check for leaks, wear, kinks, flattening and charring |  |
|  | Hydraulic oil level | check hydraulic oil level and add if necessary |  |
|  |  | change hydraulic oil level annually |  |
|  | Hydraulic Pump | Check for noise and operation |  |
|  | Hydraulic Tank Breather | Clean or replace |  |
|  | Hydraulic oil filter | replace annually |  |
| 6 | Pivots (mast) | check fittings and lubricate with multi purpose grease as necessary |  |
|  | Mast | check operation |  |
|  | Mast sliding surfaces | check condition and lubricate with multi purpose grease as necessary |  |
|  | Mast carriage, header, hoses | check condition |  |
|  | Lift chains | check condition, adjust if neccessary and lubricate with engine oil if necessary |
| 7 | Differential and speed reducer | check for leaks |  |
|  |  | change gear oil annually |  |
| 8 | Forks | check condition |  |
|  | Fork pins and guides | check condition and lubricate with engine oil if necessary |  |
| 9 | Sideshift carriage | check all fittings and lubricate with multi purpose grease |  |
|  | Integral Sideshift carriage (upper/lower bearings) | check wear on bearings and replace as necessary |  |
| 10 | Fork pins and guides | check condition and lubricate with engine oil when needed |  |
| 11 | Transmission | Check operation and top off fluid as necessary |  |
| 12 | Steering tie rods and spindles | check fittings and lubricate with multi purpose grease when needed |  |
| 13 | Anti-Freeze | check anti-freeze level and add if needed |  |
| 14 | Engine oil and filter | check engine oil and filter |  |
|  |  | replace oil and filter annually |  |
| 15 | Chassis | check all fittings and lubricate with multi purpose grease if needed |  |
| 16 | Fuel Filter | check annually and replace if necessary |  |
| 17 | Contactors | check condition, clean if neccessary and tighten terminals |  |
| 18 | Gauges, Horn, Lights,Fuses | check operation |  |
| 19 | Safety Labels | check condition and replace if needed |  |
| 20 | All bolts, nuts, cotter pins, etc. | check and adjust as needed |  |
| NOTE* | If deficiencies are detected during quarterly PM checks, report findings to the COR. |  |
|  | Signature of COR | Signature of Service Technician |

COMMISSARY CONTACTS

POINTS OF CONTACT

STORE:  DAHLGREN NSWC

POC: Romualda Garrett, Store Director

Phone: (540) 653-7317

Email: romualda.garrett@deca.mil

STORE: PATUXENT RIVER NAS

POC: Debbie House, Store Director

Phone: (301) 342-3789 ext 3005

Email: debbie.house@deca.mil

STORE: QUANTICO MCCDC

POC: Linda McDaniel

Phone: (703) 784-3394

Email: linda.mcdaniel@deca.mil

Alt POC: Ronald Smith

Phone: (703) 784-1367

Email: ronald.smith@deca.mil

CONTRACTING:

POC: Shante Atkins

Phone: (804) 734-8000 ext. 86300

Email: shante.atkins@deca.mil

PAYMENT:

WAWF:

All invoices shall be submitted electronically to DFAS Columbus via https://wawf.eb.mil/ in accordance with DFARS clause 252.232-7003, Electronic Submission of Payment Requests AND Receiving Reports (MAR 2008).  The full text of this clause can be found at http://farsite.hill.af.mil/.

Contractor – This contract requires the type of invoice to be used as “Invoice and Receiving Report (COMBO)”.  A separate invoice shall be created for each Ship To location.

Pay DoDAAC:  Block 18a of the contract.

Admin DoDAAC:  Block 9 of the contract

Ship To DoDAAC:  Block 15 of the contract

Store:  After you sign the receiving report electronically, in the Verification screen, where it says “send more Email Notifications”, add the email address of the contracting POC above, which will automatically generate a copy of the receiving report to the POC.

UID Requirements:  UID information must be completed on the invoice for any property requiring UID identification and/or valuation by the contract.

Payment status can be obtained by checking the Misc Info Tab on your invoice in WAWF and on the MyInvoice link or at https://myinvoice.csd.disa.mil/index.html.

Payment Inquiries:  Payment questions can be addressed by calling DFAS – Columbus, OH Customer Service at 800-756-4571, Opt 2, Opt 2.

If you need technical assistance on WAWF, contact:

Ogden Help Desk, 866-618-5988, Opt 2, Opt 3

Section SF 1449 - CONTINUATION SHEET

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0001 |  |  |  |  | $0.00 |
|  | Dahlgren Commissary Preventive Maintenance (PM) and Repair of Material Handling Equipment at Dahlgren Commissary. Period of Performance: January 29, 2013(or date of award)-January 31, 2014 FOB: Destination |  |
|  | NET AMT |  |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0001AA |  | 20 | Hours | $95.00 | $1,900.00 |
|  | Time T&M IAW FAR 16.601(a) “Hourly rate” means the rate(s) prescribed in the contract for payment for labor that meets the labor category qualification of a labor category specified in the contract that are— (1) Performed by the contractor; (2) Performed by the subcontractors; or (3) Transferred between divisions subsidiaries, or affiliates of the contractor under a common control. FOB: Destination |  |
|  | TOT ESTIMATED PRICE | $1,900.00 |
|  | CEILING PRICE |  |
|  | ACRN AA CIN: 000000000000000000000000000000 | $1,900.00 |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0001AB |  | 5,140 | Lot | $1.00 | $5,140.00 |
|  | Materials T&M This is not a priced CLIN. DeCA will pay actual costs for materials as evidenced by supplier invoice. IAW FAR 16.601(a) “Materials” means— (1) Direct materials, including supplies transferred between divisions, subsidiaries, or affiliates of the contractor under a common control; (2) Subcontracts for supplies and incidental services for which there is not a labor category specified in the contract; (3) Other direct costs (e.g., incidental services for which there is not a labor category specified in the contract, travel, computer usage charges, etc.); and (4) Applicable indirect costs FOB: Destination |  |
|  | TOT ESTIMATED PRICE | $5,140.00 |
|  | CEILING PRICE |  |
|  | ACRN AA CIN: 000000000000000000000000000000 | $5,140.00 |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0001AC |  | 4 | Each | $95.00 | $380.00 |
|  | 1R06, Electric Forklift PM FFP Quarterly Preventative Maintenance on CED 1R06. FOB: Destination |  |
|  | NET AMT | $380.00 |
|  | ACRN AA CIN: 000000000000000000000000000000 |  | $380.00 |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0002 |  |  |  |  | $0.00 |
|  | Patuxent River Commissary Preventive Maintenance (PM) and Repair of Material Handling Equipment at Patuxent River Commissary. Period of Performance: January 29, 2013(or date of award)-January 31, 2014 FOB: Destination PURCHASE REQUEST NUMBER: HQCNAB20962700000 |  |
|  | NET AMT |  |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0002AA |  | 65 | Hours | $95.00 | $6,175.00 |
|  | Time T&M IAW FAR 16.601(a) “Hourly rate” means the rate(s) prescribed in the contract for payment for labor that meets the labor category qualification of a labor category specified in the contract that are— (1) Performed by the contractor; (2) Performed by the subcontractors; or (3) Transferred between divisions subsidiaries, or affiliates of the contractor under a common control. FOB: Destination PURCHASE REQUEST NUMBER: HQCNAB20962700000 |  |
|  | TOT ESTIMATED PRICE | $6,175.00 |
|  | CEILING PRICE |  |
|  | ACRN AB CIN: HQCNAB209627000000001 | $6,175.00 |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0002AB |  | 5,405 | Lot | $1.00 | $5,405.00 |
|  | Materials T&M This is not a priced CLIN. DeCA will pay actual costs for materials as evidenced by supplier invoice. IAW FAR 16.601(a) “Materials” means— (1) Direct materials, including supplies transferred between divisions, subsidiaries, or affiliates of the contractor under a common control; (2) Subcontracts for supplies and incidental services for which there is not a labor category specified in the contract; (3) Other direct costs (e.g., incidental services for which there is not a labor category specified in the contract, travel, computer usage charges, etc.); and (4) Applicable indirect costs. FOB: Destination PURCHASE REQUEST NUMBER: HQCNAB20962700000 |  |
|  | TOT ESTIMATED PRICE | $5,405.00 |
|  | CEILING PRICE |  |
|  | ACRN AB CIN: HQCNAB209627000000002 | $5,405.00 |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0002AC |  | 8 | Each | $95.00 | $760.00 |
|  | 1R06, Electric Forklift PM FFP Quarterly Preventative Maintenance on CED 1R06. FOB: Destination PURCHASE REQUEST NUMBER: HQCNAB20962700000 |  |
|  | NET AMT | $760.00 |
|  | ACRN AB CIN: HQCNAB209627000000003 |  | $760.00 |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0002AD |  | 4 | Each | $95.00 | $380.00 |
|  | 1R07, Forklift Narrow Isle PM FFP Quarterly Preventative Maintenance on CED 1R07. FOB: Destination |  |
|  | NET AMT | $380.00 |
|  | ACRN AB CIN: 000000000000000000000000000000 |  | $380.00 |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0003 |  |  |  |  | $0.00 |
|  | Quantico Commissary Preventive Maintenance (PM) and Repair of Material Handling Equipment at Quantico Commissary. Period of Performance: January 29, 2013(or date of award)-January 31, 2014 FOB: Destination |  |
|  | NET AMT |  |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0003AA |  | 70 | Hours | $95.00 | $6,650.00 |
|  | Time T&M AW FAR 16.601(a) “Hourly rate” means the rate(s) prescribed in the contract for payment for labor that meets the labor category qualification of a labor category specified in the contract that are— (1) Performed by the contractor; (2) Performed by the subcontractors; or (3) Transferred between divisions subsidiaries, or affiliates of the contractor under a common control. FOB: Destination PURCHASE REQUEST NUMBER: HQCNFJ20962700000 |  |
|  | TOT ESTIMATED PRICE | $6,650.00 |
|  | CEILING PRICE |  |
|  | ACRN AC CIN: HQCNFJ209627000000001 | $6,650.00 |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0003AB |  | 5,390 | Lot | $1.00 | $5,390.00 |
|  | Materials T&M This is not a priced CLIN. DeCA will pay actual costs for materials as evidenced by supplier invoice. IAW FAR 16.601(a) “Materials” means— (1) Direct materials, including supplies transferred between divisions, subsidiaries, or affiliates of the contractor under a common control; (2) Subcontracts for supplies and incidental services for which there is not a labor category specified in the contract; (3) Other direct costs (e.g., incidental services for which there is not a labor category specified in the contract, travel, computer usage charges, etc.); and (4) Applicable indirect costs. FOB: Destination |  |
|  | TOT ESTIMATED PRICE | $5,390.00 |
|  | CEILING PRICE |  |
|  | ACRN AC CIN: 000000000000000000000000000000 | $5,390.00 |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0003AC |  | 16 | Each | $95.00 | $1,520.00 |
|  | 1R05-A, Electric Pallet Jack PM FFP Quarterly Preventative Maintenance on CED 1R05-A. FOB: Destination |  |
|  | NET AMT | $1,520.00 |
|  | ACRN AC CIN: 000000000000000000000000000000 |  | $1,520.00 |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0003AD |  | 4 | Each | $95.00 | $380.00 |
|  | 1R06, Electric Forklift PM FFP Quarterly Preventative Maintenance on CED 1R06. FOB: Destination PURCHASE REQUEST NUMBER: HQCNFJ20962700000 |  |
|  | NET AMT | $380.00 |
|  | ACRN AC CIN: HQCNFJ209627000000004 |  | $380.00 |

| ITEM NO | SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0003AE |  | 4 | Each | $95.00 | $380.00 |
|  | 1R12-A, Propane Forklift PM FFP Quarterly Preventative Maintenance on CED 1R12-A. FOB: Destination PURCHASE REQUEST NUMBER: HQCNFJ20962700000 |  |
|  | NET AMT | $380.00 |
|  | ACRN AC CIN: HQCNFJ209627000000005 |  | $380.00 |